{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":1},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":4,"n_cols":6,"rows_kept":4,"merged":[[0,1,0,2],[0,4,0,5]]}
[null,"Low Turbidity",null,null,"High Turbidity"]
[null,"Turbidity","RRAT",null,"Turbidity","RRAT"]
[null,100,0.00595,null,800,0.16104]
[null,20,1.15E-3,null,100,0.00595]